Getting the chief to feed the right information to the CM:

What are the day to day changes?

Who requested the change?

What is the change?

When is the change needed?

Where the change is taking place?

Why the change is requested?

What is the estimated cost associated with the change? Estimate from contractor or inspection

What is working well?

Progress

Is Contractor good to deal with

What is not working well- Issues & Concerns

LIST OF CHANGES FOR CHANGE REQUESTS NOT INCLUDED IN ORIGINAL ESTIMATE:

NTL

-Inspection Photocopier

-Work Planning- not part of the estimate- 3 days or so second week in January

-Matting For Laydown yard (how many mats were used here)- not part of original scope

-All mat costs turned over to us so now need to check how much money was in estimate for NTL mats as that should be a savings to their estimate

-Extra hauling for rig on the north side- extra hauling for any gravel/shales during casing installation have to be disposed of downhole or south pad but cannot dispose in area #2 therefore extra hauling from north side to south side that wasn’t anticipated (Jeff Martin tracking all disposals).  NTL PO

TCC

-Start date has been rolled back- no savings/costs

-They bring their own mats